## COVER
REPUBLIC OF UGANDA
MINISTRY OF WATER AND ENVIRONMENT
IRRIGATION FOR CLIMATE RESILIENCE PROJECT (ICRP)
PROJECT ID NO: P163836
CONSTRUCTION WORKS FOR KABUYANDA EARTH DAM IN ISINGIRO DISTRICT
INTERNATIONAL COMPETITIVE BIDDING
MWE/WRKS/20-21/00005
BIDDING DOCUMENT
VOLUME 2 - BILL OF QUANTITIES
ISSUED DECEMBER 2020

## Summary
IRRIGATION FOR CLIMATE RESILIENCE PROJECT (ICRP)
CONSTRUCTION WORKS FOR KABUYANDA EARTH DAM IN ISINGIRO DISTRICT
BILL OF QUANTITIES
GRAND SUMMARY
Bill No. | Description | Amount (Ush)
1 | Preliminaries and General Items
2 | Dam and Head Works
3 | Access Roads to dam site
4 | Scheme Buildings and Facilities
5 | Day Works
TOTAL
Contigency (5%)
GRAND TOTAL
Add VAT (18%)
OVERALL TOTAL

## P&G
IRRIGATION FOR CLIMATE RESILIENCE PROJECT (ICRP)
CONSTRUCTION WORKS FOR KABUYANDA EARTH DAM IN ISINGIRO DISTRICT
BILL NO. 1: PRELIMINARIES & GENERAL ITEMS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
1.1 | CONTRACTUAL REQUIREMENTS
1.1.1 | Performance security clause | sum | 1
1.1.2 | Environmental and Social (ES) Performance Security | sum | 1
1.1.3 | Advance payment guarantee | sum | 1
1.1.4 | Insurance of works | sum | 1
1.1.5 | Third party insurance | sum | 1
1.1.6 | Insurance of Contractors Plant/equipment | sum | 1
1.2 | SPECIFIED REQUIREMENTS
Site Offices and Housing
1.2.1 | Provision of rented office accommodation for the Engineer's staff | month | 24
1.2.2 | Maintenance of offices for the Engineer's staff | month | 24
1.2.3 | Rental residential accommodation for the Engineer's staff (3No. Units) | month | 24
1.2.4 | Maintenance of housing accommodation for the Engineer's staff (3No. Units) | month | 24
1.3 | SERVICES FOR THE ENGINEER'S STAFF
1.3.1 | Services for the Engineer's Staff; Purchase of Transport Vehicles; Station Wagon Transport Vehicle - standing costs | No. | 1
1.3.2 | Services for the Engineer's Staff; Purchase of Transport Vehicles; Pick-up transport vehicle - standing costs | No. | 2
1.3.3 | Services for the Engineer's Staff; Transport Vehicles; Station Wagon Transport Vehicle - running costs | Km | 159000
1.3.4 | Services for the Engineer's Staff; Transport Vehicles; Pick-up transport vehicle - running costs | Km | 318000
COMMUNICATION
1.3.5 | Establish communication system and dedicated email (wireless or leased line) system for the Engineer's office | sum | 1
1.3.6 | Maintenance of communication system and dedicated email (wireless or leased line) system for the Engineer's office | month | 24
1.4 | EQUIPMENT FOR USE BY THE ENGINEERS STAFF
1.4.1 | Provision of office furniture & equipment for the Engineer's staff Spec | sum
1.4.2 | Provision of personal office computers for use | Nr. | 3
1.4.3 | Provide laptops for supervision staff use as per specification | Nr. | 3
1.4.4 | Provision of 8 mega pixils digital camera with 512 MB memory card of approved make for the entire project | Nr. | 3
1.4.5 | Maintenance of Engineer's office including office furniture & equipment | month | 24
1.4.6 | Purchase of surveying equipment; Differential GPS - Trimble R12, for use by the Client according to specifications (Equipment to be retained by the Client on project completion). | Nr. | 1
1.4.7 | Purchase of specialised computer software and license package for MIKE Software powered by DHI for use by the Clients technical staff | Nr. | 5
1.4.8 | Purchase of specialised computer software and license package for DELFT 3D specialised software powered by Delatrescfor use by the Clients technical staff | Nr. | 5
Page Total Carried to Collection Page
1.4.9 | Purchase of specialised computer software and license package for BENTLEY Hydraulics and Hydrology powered by Bentley Systems for use by the Client's technical staff | Nr. | 5
1.4.10 | Purchase of specialised computer software and license package for Geostudio modelling software for use by the Client's technical staff | Nr. | 5
1.4.11 | Contractor's handling charge on all provisional sums 1.4.1, 1.4.2, 1.4.3, 1.4.4, 1.4.5, 1.4.6, 1.4.7, 1.4.8, 1.4.9 and 1.4.10 above. | %
ATTENDANCE UPON THE ENGINEER'S STAFF
1.4.12 | Unskilled labour | month | 24
1.4.13 | Technician/Draftsman | month | 24
1.4.14 | Secretary | month | 24
1.5 | TESTING MATERIALS AND WORKS
1.5.1 | Provide a site laboratory room including all furniture and apparatus/equipment with a full time laboratory Technician for undertaking the following on-site quality control tests. Rate to include costs of performing the following tests as shall be required and instructed by the Supervising Engineer during the course of execution of the contract. | sum | 1
a | In-situ density using the sand replacement method done to BS 1377:1975 of the compacted dam fill material per layer during construction
b | Moisture Content; done to specification in contract document
c | Permeability tests done to BS 5930, 1981, use of constant head permeameter for fine and coarse grained soils for the foundation and embankment
d | Compaction Standard compaction tests by protor - Use of a 2.5kg rammer to BS 1377 - Use of a 4.5kg rammer to BS 1377
e | Testing of Clay and Gravel (murram) material from different Borrow Pits prior to approval for use by the Engineer performing the following tests:
(i) Atterbergs Limits
(ii) Sieve Analysis
(iii) Natural Moisture Content
(iv) Hydrometer Analysis for fine materials
(v) Compaction [standard proctor] (MDD and OMC)
(vi) Un-drained Shear Strength test at MDD
(vii) Permeability test at MDD
(viii) Direct Shear test at MDD
f | Provision for testing of concrete works before, during and after construction in accordance with the specification
(i) Comprehensive Strength tests
(ii) Slump tests
1.5.2 | Permeability: All tests done to BS 5930, 1981, use of constant head permeameter for fine and coarse grained soils | Nr. | 50
1.5.3 | Compaction: Standard compaction tests by protor
1.5.4 | Compaction: Use of a 2.5kg rammer to BS 1377 | Nr. | 50
1.5.5 | Compaction: Use of a 4.5kg rammer to BS 1377 | Nr. | 50
1.5.6 | Pressure testing of HDPE pipe PN20 | Km | 0.5
Page Total Carried to Collection Page
1.5.7 | Pressure testing of HDPE pipe PN10 | Km | 0.5
1.5.8 | Comprehensive Strength tests | Nr. | 50
1.5.9 | Slump tests | Nr. | 50
1.5.10 | Material Tests from Borrow Pits: Testing Murram from different Borrow Pits to ascertain suitability for use prior to approval by the supervising Engineer | Nr. | 50
1.5.11 | Testing clay Borrow pits to ascertain suitability for use prior to approval by the supervising Engineer | Nr. | 50
1.6 | TEMPORARY WORKS
1.6.1 | Establishment, maintenance and removal of site sign-boards to the Engineer's satisfaction, spec | Nr. | 4
1.6.2 | Dewatering of sites and work areas | sum | 1
1.6.3 | Control and diversion of water from site and work areas to ensure the works are completed as specified. Rate to include removal of all temporary facilities after construction | sum | 1
1.6.4 | Restoration of borrow sites, access ways and all sites and work areas to original site in compliance with Social Requirements and Environmental Regulations | sum | 1
1.6.5 | Construction and maintenance of access roads to borrow sites and all sites and work areas | Km | 60
1.7 | METHOD RELATED CHARGES
1.7.1 | Allow for contractor's mobilisation and demobilisation | sum | 1
1.7.2 | Production of As-built drawings as specified (4 sets) | sum | 1
1.7.3 | Allow for detailed topographical surveys of the entire dam and reservoir area to be carried out during construction. Topographical maps shall be produced at reasonable contour intervals, as shall be directed by the Supervising Consultant, for use during construction. | Sum | 1
1.7.4 | Contractor's handling charge on all provisional sums as above. | %
1.8 | PROVISIONAL SUMS
1.8.2 | Provision of soil testing kit for (Organic matter, Nitrogen, pH) for disturbed and un-disturbed samples | P.sum | 1 | 20000000
1.8.3 | Provision of water quality testing kit | P.sum | 1 | 20000000
1.8.4 | Supply and installation of automatic river flow measurement gauge | P.sum | 1 | 10000000
1.8.5 | Allow for Geotechnical investigations to be carried out during construction to confirm design bearing capacity and soil properties | P.sum | 1 | 50000000
1.8.6 | Allow for site handover | P.Sum | 1 | 25000000
1.8.7 | Allow for hands-on training of Employer’s technical staff during the construction period | P.Sum | 1 | 50000000
1.8.8 | Allow for Technical Commissioning | P.Sum | 1 | 25000000
1.8.9 | Contractor's handling charges on all provisional sums as above | %
Page Total Carried to Collection Page
1.9 | SOCIAL SAFEGUARDS / WORKSHOPS / AWARENESS CAMPAIGNS DURING CONSTRUCTION PERIOD
1.9.1 | The services or goods paid for by the contractor as required: | sum | 1
1.9.2 | Child abuse awareness (Seminars,Radio spots,Posters) | sum | 1
1.9.3 | HIV-AIDS awareness (Seminars,Radio spots,Posters) | sum | 1
1.9.4 | Gender maintreaming (Seminars,Radio spots,Posters) | sum | 1
1.9.5 | Accident prevention (Radio spots,Posters & Signage) | sum | 1
1.1 | MISCELLANEOUS
1.10.1 | Supply and installation of permanent labels made of engraved granite on the various installations as directed by the Engineer | Nr. | 10
1.10.2 | Prepare operation and maintenance manuals as per specifications and to the Engineer's approval | sum | 1
1.11 | GROUND INVESTIGATIONS
1.11.1 | EXCAVATION OF TRIAL PITS AND TRENCHES
1.11.1.1 | Number of trial pits for material other than rock maximum depth 3-5m | Nr. | 10
1.11.1.2 | Number of trial pits for material which includes rock. Maximum depth 3-5m | Nr. | 10
1.11.2 | HANDLING OF SOIL SAMPLES
1.11.2.1 | From the surface or trial pits and trenches. Undisturbed soft material | Nr. | 30
1.11.2.2 | From the surface or trial pits and trenches. Disturbed soft material | Nr. | 30
1.11.2.3 | From the surface or trial pits and trenches. Rock | Nr. | 20
1.11.2.4 | From the surface or trial pits and trenches. Ground water | Nr. | 20
1.11.3 | Number of Bore holes prior to the construction of dam
1.11.3.1 | depth upto 80m | Nr. | 5
1.11.3.2 | depth upto 50m | Nr. | 5
IN-SITU TESTS
1.11.3.3 | LUGEON test | Nr. | 12
1.11.3.4 | SPT test | Nr. | 12
LABORATORY TEST
Rock
1.11.3.5 | Samples | Nr. | 9
1.11.3.6 | Unit Weight | Nr. | 6
1.11.3.7 | UCS | Nr. | 3
1.11.3.8 | Triaxial test | Nr. | 3
Soils
1.11.3.9 | Samples | Nr. | 15
1.11.3.10 | Grain size distribution | Nr. | 15
1.11.3.11 | Atterberg limits | Nr. | 15
1.11.3.12 | Unit weight | Nr. | 15
1.11.3.13 | Moisture | Nr. | 6
1.11.3.14 | Triaxial tests | Nr. | 6
1.11.3.15 | Direct shear test | Nr. | 3
1.11.3.16 | Consolidation test | Nr. | 3
Page Total Carried to Collection Page
1.12 | ENVIRONMENTAL, SOCIAL, HEALTH & SAFETY ACTIVITIES
1.12.1 | Environmental & Social Protection / Mitigation Actvities
1.12.1.1 | Develop and operationalize a strict recruitment plan and code of conduct for employees and workers; Develop a communication and sensitization plan for employees, workers and general public about HIV/AIDS, accident prevention, child abuse and gender-based violence including the use of IEC material. | sum | 1
1.12.1.2 | Provide free HIV/AIDS testing, counselling and condom distribution on a monthly basis. | sum | 1
1.12.1.3 | Develop and implement a vegetation cover and drainage management plan for all sites where excavation and landfill will take place to prevent soil erosion and degradation. | sum | 1
1.12.1.4 | Installation of silencers / sound attenuation canopies for equipment that emit excessive noise. Installation and maintenance of noise measuring equipment to measure the level of noise at specific sites during noise generating activities. Ensure availability of earmuffs at the site for worker and visitors. | sum | 1
1.12.1.5 | Sprinkle water on all excavated sites and dusty vehicle pathways and limit vehicle speeds. Provide tarpaulin covers for vehicles while hauling dust generating materials. Provide dust masks for all workers and visitors, as required during the project period. | sum | 1
1.12.1.6 | Routine and regular servicing and maintenance of all vehicles and equipment. Provisions of nose and mouth masks for worker operation near exhaust fumes generating equipment. | sum | 1
1.12.1.7 | Acquire approvals for borrow pits, sand and aggregate mines, dumping sites by the relevant authorities. Prepare, acquire approval and implement the site management plan | sum | 1
1.12.1.8 | Prepare and acquire approval and implement site waste management plan. | sum | 1
1.12.1.9 | Prepare and acquire approval and implement site human waste management plan. Sensitize workers about the dangers of open defecation. Sensitize workers about proper toilet use and handwashing. | sum | 1
1.12.1.10 | Prepare and acquire approval and implement site accident management plan. Undertake site safety training for all workers regularly. Purchase and ensure workers and visitors wear all the necessary PPE (e.g nose masks, ear muffs, heavy duty shoes, heavy duty gloves, reflector jackets, helmets, eye gaggles, life jackets) at all times while on the sites. | sum | 1
1.12.1.11 | Preparation of Campsite project brief and Contractor’s Environmental and Social Management Plan and acquiring NEMA approvals | sum | 1
1.12.1.12 | Monthly testing of physical and biological parameters of water samples from the lake (results of water quality analysis) and keeping track of the water quality during construction of the dam and intake works (monthly reports) | sum | 1
1.12.2 | Health and Safety Protection / Mitigation Activities
1.12.2.1 | Store and dispose off hazardous wastes and raw material (e.g.fuel or chemicals) - storage of hydrocarbons (disposal charge per quarter) | sum | 1
1.12.2.2 | Confine access to restricted work sites (including hoarding, hiring of security guards) | sum | 1
1.12.2.3 | Preparation, approval and implementation of the Traffic Management Plan (TMP) | sum | 1
1.12.2.4 | Preparation, approval and implementation of Fire Management Plan | sum | 1
Page Total Carried to Collection Page
1.12.2.5 | Installation of a fully equiped first aid room | sum | 1
1.12.2.6 | Hire of a trained Nurse and Social Development Expert for the duration of the project | sum | 1
1.12.2.7 | Signing of an MOU with a referral hospital to provide ambulance services and handling severe cases /emergencies | sum | 1
1.12.2.8 | Purchase and maintenance of drinking water dispensers | sum | 1
1.12.2.9 | Installation and maintenance of hand washing facilities with soap and water at all project sites | sum | 1
1.12.2.10 | Provision of appropriate and safe transportation for all workers to, from and within work sites. Transportation vehicle should not be an open top vehicle. There should be provision for sitting, or supported standing, and protection from whether and environment elements, i.e. sunshine, rain and dust for the duration of the project | sum | 1
Page Total Carried to Collection Page
COLLECTION PAGE
Collection, Page 1
Collection, Page 2
Collection, Page 3
Collection, Page 4
Collection, Page 5
Collection, Page 6
Page Total Carried to Summary Page

## Dam & Head Works
IRRIGATION FOR CLIMATE RESILIENCE PROJECT (ICRP)
CONSTRUCTION WORKS FOR KABUYANDA EARTH DAM IN ISINGIRO DISTRICT
BILL NO. 2: DAM AND HEAD WORKS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
2.1 | Site Installation and Services
2.1.1 | Contractor's camps and Offices (Management's Camp, Workers Camp, Offices including inner roads) | L.S
2.1.2 | Establishment of Contractor's auxiliary Buildings, Materials, Testing Laboratory & Storage Areas | L.S
2.1.3 | Mobilization of Contractor's Plants and Equipment | L.S
2.1.4 | Demobilization of Contractor's Plants and Equipment | L.S
2.1.5 | Installations & Services for Use by Employer and Engineer | L.S
2.2 | Ground Investigations
Excavation of Trial pits and Trenches
2.2.1 | Number of trial pits for material other than rock maximum depth 3-5m | Nr. | 20
2.2.2 | Number of trial pits for material which includes rock. Maximum depth 3-5m | Nr. | 20
Handling of Soil Samples
2.2.3 | From the surface or trial pits and trenches. Undisturbed soft material | Nr. | 20
2.2.4 | From the surface or trial pits and trenches. Disturbed soft material | Nr. | 20
2.2.5 | From the surface or trial pits and trenches. Rock | Nr. | 20
2.2.6 | From the surface or trial pits and trenches. Ground water | Nr. | 20
Site Tests and Observations
2.2.7 | Ground water level | Nr. | 20
2.2.8 | Standard penetration | Nr. | 20
2.2.9 | Plate bearing | Nr. | 20
2.2.10 | California bearing ratio | Nr. | 20
2.2.11 | In situ density using the sand replacement method done to BS 1377: 1975 of the compacted dam fill | Nr. | 20
Laboratory Tests
2.2.12 | Classification - moisture content | Nr. | 20
2.2.13 | Classification - Atterberg limits | Nr. | 20
2.2.14 | Classification - specific gravity | Nr. | 20
2.2.15 | Classification - particle size analysis by sieve | Nr. | 20
2.2.16 | Classification - particle size analysis by pipette or hydrometer | Nr. | 20
2.2.17 | Chemical content - organic matter | Nr. | 20
2.2.18 | Chemical content - sulphate | Nr. | 20
2.2.19 | Chemical content - PH value | Nr. | 20
2.2.20 | Chemical content - contaminants | Nr. | 20
2.2.21 | Compaction - standard | Nr. | 20
2.2.22 | Compaction - heavy | Nr. | 20
2.2.23 | Compaction - vibratory | Nr. | 20
2.2.24 | Compaction - triaxial cell | Nr. | 20
2.2.25 | Soil strength | Nr. | 20
Professional Services
2.2.26 | Technician Engineer | HR | 176
2.2.27 | Engineer or geologist - Principal or Consultant | HR | 176
Page Total Carried to Collection Page
2.2.28 | Visits to the site | Nr. | 5
2.2.29 | Overnight stays in connection to visits to the site | Days | 30
2.3 | DEMOLITION AND SITE CLEARANCE
This includes clearing and removal of natural and artificial objects and obstructions which are above the original surface.
2.3.1 | Dam Basin
2.3.1.1 | Clear dam basin of all vegetation, shrubs and trees of 500mm girth diameter and less by stripping off top soil to a depth of 300mm, cart to spoil for a distance not more than 5km away. | ha | 100
2.3.2 | Dam site
2.3.2.1 | Clear and remove vegetation from dam site & down stream by stripping off 300mm of top soil and cart to spoil for a distance not more than 5km away. | ha | 10
2.3.1 | Trees
Cut and dispose off trees of the following girth; include removal of stump and backfilling the hole left with top soil
2.3.1.1 | Trees - girth :500mm - 1m | Nr | 50
2.3.1.2 | Trees - girth :1 - 2m | Nr | 10
2.3.1.3 | Stumps - diameter: 150-500mm | Nr | 88880
2.3.1.4 | Stumps - diameter: 500mm -1m | Nr | 22220
2.3.1.5 | Stumps - diameter: exceeding 1m | Nr | 75
2.4 | EARTHWORKS
2.4.1 | EXCAVATION FOR RIVER DIVERSION WORKS
2.4.1.1 | Excavation in ordinary soil and cart to spoil | m³ | 4513.016
2.4.2 | EXCAVATION FOR EARTH DAM (EMBANKMENT FOUNDATION)
2.4.2.1 | Top soil, depth not exceeding 0.25m | m2 | 7200
2.4.2.2 | Ditto but - depth 0.25-0.5m. | m³ | 2577.9695
2.4.2.3 | Ditto but - depth 0.5-1m. | m³ | 9575.1786
2.4.2.4 | Ditto but - depth 1-5m. | m³ | 16411.8561
2.4.2.5 | Ditto but - depth 5 -10m. | m³ | 1850
2.4.2.6 | Rock-Maximum depth 0.25 - 0.5 m. | m3 | 550
2.4.2.7 | Ditto but - depth 0.5 -2 m. | m3 | 655
2.4.2.8 | Drilling 45 to 50 mm dia holes vertical or inclined upto 10 degrees to vertical in rock /masonry/ concrete by percussion drilling using waggon drill or any other suitable equipment including cost of all materials, machinery, labour, redrilling through partially set grout wherever required etc., complete for curtain grouting with all leads and lifts. | m | 1130
2.4.3 | SIDE CHANNEL SPILLWAY
2.4.3.1 | Excavation in ordinary soil and cart to spoil Top soil, depth not exceeding 0.25m | m³ | 13987.8863
2.4.3.2 | Ditto but - depth 0.25-0.5m. | m³ | 13364.285
2.4.3.3 | Ditto but - depth 0.5-1m. | m³ | 11982.472
2.4.3.4 | Ditto but - depth 1-5m. | m³ | 11772.8526
2.4.3.5 | Excavation for foundation in rock or artificial hard material for Cut off trench, Toe wall & Toe Drain; depth 0.0 – 0.25m | m³ | 17832.4133
2.4.3.6 | Ditto but - depth 0.25-0.5m. | m³ | 12737.631
2.4.3.7 | Ditto but - depth 0.5 – 1.0 m. | m³ | 14199.787
Page Total Carried to Collection Page
2.4.3.8 | Ditto but - depth 1.0 -5 m. | m³ | 16616.4995
2.4.3.9 | Return walls | m³ | 524.9369
2.4.3.10 | Left side Side wall | m³ | 1212.2456
2.4.3.11 | Training wall | m³ | 69.2391
2.4.4 | SPILLWAY TAIL CHANNEL
2.4.4.1 | TAIL CHANNEL
2.4.4.1.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 104.942
2.4.4.1.2 | Ditto but - depth 0.25 - 0.50m. | m³ | 96.6695
2.4.4.1.3 | Ditto but - depth 0.5-1.0m. | m³ | 168.5214
2.4.4.1.4 | Ditto but - depth 1-5m. | m³ | 237.7729
2.4.4.2 | LEFT SIDE U/S ROAD
2.4.4.2.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 10893.5163
2.4.4.3 | LEFT YARD
2.4.4.3.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 51324.304
2.4.4.4 | LEFT SIDE D/S ROAD
2.4.4.4.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 19740.5966
2.4.4.5 | RIGHT YARD
2.4.4.5.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 14411.305
2.4.4.6 | INLET CHAMBER
2.4.4.6.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 36.8324
2.4.4.6.2 | Ditto but - depth 0.25-0.5m. | m³ | 35.2977
2.4.4.6.3 | Ditto but - depth 0.5-1m. | m³ | 66.0722
2.4.4.6.4 | Ditto but - depth 1-5m. | m³ | 203.54
Page Total Carried to Collection Page
2.4.4.7 | INTAKE GALLERY BARREL
2.4.4.7.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 1991.362
2.4.4.7.2 | Ditto but - depth 0.25-0.5m. | m³ | 1908.3886
2.4.4.7.3 | Ditto but - depth 0.5-1m. | m³ | 3572.224
2.4.4.7.4 | Ditto but - depth 1-5m. | m³ | 11004.8954
2.4.4.8 | CONTROL BUILDING
2.4.4.8.1 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 27.524
2.4.4.8.2 | Ditto but - depth 0.25-0.5m. | m³ | 27.524
2.4.4.8.3 | Ditto but - depth 0.5-1m. | m³ | 55.047
2.4.4.8.4 | Ditto but - depth 1-5m. | m³ | 314
2.5 | FILLING
2.5.1 | RIVER DIVERSION WORKS
2.5.1.1 | Refilling with excavated soils (other than sand) complying with standard specification for filling foundation and sides of head walls, wing walls etc., complete for finished item of work. | m³ | 7898.5125
2.5.2 | EMBANKMENT FOR EARTH DAM
2.5.2.1 | Providing cut-off trench / dam body embankment filling using clay from borrow pits or another source within a radius of 5km and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm (Imported natural material other than topsoil or rock) | m³ | 84195
2.4.13 | Providing cut-off trench / dam body embankment filling using clay from borrow pits or another source within a radius of 10km and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | cu.m | 12629.25
2.4.14 | Providing cut-off trench / dam body embankment filling using clay from borrow pits or another source within a radius of 15 km and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | cu.m | 8419.5
2.4.15 | Providing cut-off trench / dam body embankment filling using clay from borrow pits or another source within a radius of 20 km and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | cu.m | 4209.75
2.4.16 | Providing cut-off trench / dam body embankment filling using clay from borrow pits or another source within a radius of 30 km and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | cu.m | 1683.9
2.5.2.2 | Providing Casing embankment over homogeneous soils on D/s side using gravel from borrow pits or another source within a radius of 5km approved by the Engineer and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | m³ | 337726
2.5.2.2 | Providing Casing embankment over homogeneous soils on D/s side using gravel from borrow pits or another source within a radius of 10km approved by the Engineer and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | m³ | 42215.75
2.5.2.2 | Providing Casing embankment over homogeneous soils on D/s side using gravel from borrow pits or another source within a radius of 15km approved by the Engineer and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | m³ | 33772.6
Page Total Carried to Collection Page
2.5.2.2 | Providing Casing embankment over homogeneous soils on D/s side using gravel from borrow pits or another source within a radius of 20km approved by the Engineer and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | m³ | 25329.45
2.5.2.2 | Providing Casing embankment over homogeneous soils on D/s side using gravel from borrow pits or another source within a radius of 30km approved by the Engineer and compacting to 95% ASSHTO T99 density of the clay core in layers not exceeding 150mm | m³ | 16886.3
2.5.2.3 | Providing and constructing Graded sand in Inclined/Horizontal filter/sand blanket using clean approved sand with a radius of 20km satisfying filter criteria | m³ | 29044
2.4.23 | Providing and constructing Graded sand in Inclined/Horizontal filter/sand blanket using clean approved sand satisfying filter criteria. Borrow pit area within radius of 30km from site | cu.m | 3630.5
2.4.24 | Providing and constructing Graded sand in Inclined/Horizontal filter/sand blanket using clean approved sand satisfying filter criteria. Borrow area within a radius of 50km from site | cu.m | 2904.4
2.4.25 | Providing and constructing Graded sand in Inclined/Horizontal filter/sand blanket using clean approved sand satisfying filter criteria. Borrow area within 350km from site | cu.m | 580.88
2.5.2.4 | Providing and constructing 300mm mm thick rip rap over graded filter media on embankment from approved sources within a radius of 10km | m³ | 17402
2.5.2.4 | Providing and constructing 300mm mm thick rip rap over graded filter media on embankment from approved sources within a radius of 25km | m³ | 2088.24
2.5.2.4 | Providing and constructing 300mm mm thick rip rap over graded filter media on embankment from approved sources within a radius of 50km | m³ | 870.1
2.5.2.5 | Provide and place rock (metal) fill of grading 10-40mm size of thickness 200 mm from within a radius of 10km to receive rip rap | m³ | 7076
2.5.2.5 | Provide and place rock (metal) fill of grading 10-40mm size of thickness 200 mm from within a radius of 25km to receive rip rap | m³ | 1061.4
2.5.2.5 | Provide and place rock (metal) fill of grading 10-40mm size of thickness 200 mm from within a radius of 50km to receive rip rap | m³ | 707.6
2.5.2.6 | Providing and laying Hariyala or other approved quality turfing sods for the D/s slope of earthen embankment | Sq.m | 14797
2.5.3 | Spillway Tail Channel
2.5.3.1 | Providing and Constructing 300mm mm thick dry rubble stone pitching with pin headers at 2 per sqm including cost of all materials, labour, hand packing, finishing etc., complete with all leads and lifts. | m³ | 4325.6625
2.5.4 | INTAKE GALLERY BARREL
2.5.4.1 | Refilling with excavated soils (other than sand) complying with standard specification for filling foundation and sides of head walls etc., complete for finished item of work. | m³ | 14300.39
2.6 | IN SITU CONCRETE
DESIGNED CONCRETE
2.6.1 | EARTH DAM
2.6.1.1 | Providing and laying insitu vibrated C-15 (28 days cube compressive strength not less than 15 N / sq mm ) grade cement concrete for plain concrete works for Longitudinal drain/chute drain/profile walls | m³ | 197
2.6.1.2 | Providing and laying insitu vibrated C-15 ( 28 days cube compressive strength not less than 15 N / sq mm ) grade cement concrete for plain concrete works for Solid Parapet wall | m³ | 244.92
Page Total Carried to Collection Page
2.6.1.3 | Providing and laying insitu vibrated C-15 ( 28 days cube compressive strength not less than 15 N / sq mm ) grade cement concrete for plain concrete works for guard stones | m³ | 5.5485
2.6.2 | SPILLWAY
2.6.2.1 | Provide and place well vibrated reinforced concrete grade C15 | m³ | 652
2.6.2.2 | Provide and place well vibrated Plain concrete grade C25 for Spillway Training wall as directed by the Engineer in charge | m³ | 24
2.6.3 | INLET CHAMBER | m³
2.6.3.1 | Provide and place well vibrated plain concrete grade C15 | m³ | 23.0422
2.6.4 | INTAKE GALLERY BARREL
2.6.4.1 | Provide and place well vibrated plain concrete grade C15 | m³ | 131.67
2.6.5 | CONTROL BUILDING
2.6.5.1 | Provide and place well vibrated plain concrete grade C15 | m³ | 11
DESIGNATED CONCRETE
2.6.6 | SPILLWAY SIDE CHANNEL
2.6.6.1 | Provide and place well vibrated reinforced concrete grade C35 for Walls & Slabs etc,.as directed by the Engineer in charge | m³ | 13300
2.6.7 | ROAD BRIDGE
2.6.7.1 | Provide and place well vibrated reinforced concrete grade C35 for Deck Slab etc,.as directed by the Engineer in charge | m³ | 80.3594
2.6.8 | INLET CHAMBER
2.6.8.1 | Provide and place well vibrated reinforced concrete grade C35 for For Inlet Barrel etc,.as directed by the Engineer in charge | m³ | 974.85
2.6.9 | INTAKE BARREL
2.6.9.1 | Provide and place well vibrated reinforced concrete grade C35 for Barrel etc,.as directed by the Engineer in charge | m³ | 4176.48
2.6.10 | CONTROL BUILDING
2.6.10.1 | Provide and place well vibrated reinforced concrete grade C35 for Super Structures etc,.as directed by the Engineer in charge | m³ | 162
2.7 | CONCRETE ANCILLARIES
2.7.1 | SPILLWAY SIDE CHANNEL
Mild BS 4483 and High tensile steel BS 4464 reinforcement bars with binding wire as described.
2.7.1.1 | 32 | t | 21.3049
2.7.1.2 | 25 | t | 243.3372
2.7.1.3 | 20 | t | 304.8748
2.7.1.4 | 16 | t | 84.7568
2.7.1.5 | 12 | t | 11.6909
2.7.1.6 | 10 | t | 4.9778
2.7.2 | ROAD BRIDGE
Mild BS 4483 and High tensile steel BS 4464 reinforcement bars with binding wire as described.
2.7.2.1 | 32 | t | 7.9712
2.7.2.2 | 20 | t | 0.96
2.7.2.3 | 16 | t | 3.344
2.7.2.4 | 12 | t | 1.919
Page Total Carried to Collection Page
2.7.3 | INLET CHAMBER
Mild BS 4483 and High tensile steel BS 4464 reinforcement bars with binding wire as described.
2.7.3.1 | 20 | t | 9.5
2.7.3.2 | 12 | t | 4
2.7.4 | INTAKE BARREL
Mild BS 4483 and High tensile steel BS 4464 reinforcement bars with binding wire as described.
2.7.4.1 | 25 | t | 115.1587
2.7.4.2 | 12 | t | 64.4406
2.7.5 | CONTROL BUILDING
Mild BS 4483 and High tensile steel BS 4464 reinforcement bars with binding wire as described.
2.7.5.1 | 25 | t | 7.4009
2.7.5.2 | 16 | t | 3.0655
2.7.5.3 | 12 | t | 2.4528
2.7.5.4 | 8 | t | 0.51622
2.8 | FOUNDATIONS AND FOUNDATION TREATMENT
2.8.1 | Drilling 45 to 50 mm dia holes vertical or inclined upto 10 degrees to vertical in rock /masonry/ concrete by percussion drilling using waggon drill
2.8.1.1 | Not exceeding 5m | m | 188.3333
Drilling for grout holes through rock
2.8.1.2 | 5 – 10m | m | 188.3333
2.8.1.3 | 10 – 20m | m | 376.6667
2.8.1.4 | 20 – 30m | m | 376.6667
GROUT HOLES MATERIALS AND INJECTION
2.8.1.5 | Flushing grout holes of all sizes with water and air jets alternatively for an average period of 30 minutes including water intake observations | m | 1130
2.8.1.6 | Curtain grouting holes in cut_off trench 2 rows @ 6m c/c, staggered for a depth of 6m each hole with neat cement grout mix of suitable consistency under specified pressure as directed in drilled holes by stage grouting method | t | 17.41
2.9 | PIPE WORK – MANHOLES AND PIPEWORK ANCILLARIES
OTHER PIPEWORK ANCILLARIES
2.9.1 | SIDE CHANNEL SPILLWAY
2.9.1.1 | Providing and Laying of 150mm dia Perforated drain pipe for both side of side walls, Rainstatement of field drains | m | 590
2.9.1.2 | Providing and fixing 100 mm dia perforated PVC pipes 40 cm long for Weep holes Rainstatement of field drains | m | 210
2.10 | CONCRETE ANCILLARIES
JOINTS
2.10.1 | SIDE CHANNEL SPILLWAY
| Providing and constructing construction joints by fixing 23 cm wide central bulb type PVC water stop in single line supported by 10 mm dia steel dowel rods on either side at 10 metre interval | m | 400
2.10.2 | INTAKE GALLERY BARREL
| Providing and constructing construction joints by fixing 23 cm wide central bulb type PVC water stop in single line supported by 10 mm dia steel dowel rods on either side at 10 metre interval | m | 124.6
Page Total Carried to Collection Page
2.11 | BRICK WORK, BLOCKWORK AND MASONRY
COMMON BRICKWORK
2.11.1 | CONTROL BUILDING
| Brick masonry for walls with CM (1:6) prop: (Cement : Screened sand) using common burnt clay bricks, Non- Modular or traditional size 23 x 11 x 7 cms | m2 | 21
2.12 | PAINTING
IRON OR ZINC BASED PRIMER PAINT
2.12.1 | CONTROL BUILDING
2.12.1.1 | Supply and fixing of pre-painted steel casement/openable windows (Metal, other than metal sections and pipework) | m2 | 8
2.12.1.2 | Painting to new walls with 2 coats of ready mixed oil bound washable distemper of approved brand and shade over a base coat of Cement primer interior grade – 1 of approved brand, (Masonry) | m2 | 83
2.13 | SIMPLE BUILDING WORKS INCIDENTAL TO CIVIL ENGINEERING WORKS
SURFACE FINISHES, LININGS AND PARTITIONS
2.13.1 | CONTROL BUILDING
2.13.1.1 | Flooring with polished stone slabs of 15mm to 18mm thick 0.457m x 0.457m or any other size as specified set over a base coat of CM (1:8) , 12mm thick using screened sand over already laid CC bed / RCC roof slab including neat cement slurry of honey like consistency spread @ 3.3 Kgs per Sqm | m2 | 22
2.13.1.2 | Supplying and fixing of false ceiling using Plaster of Paris Boards 12 mm thick with standard GI ceiling angles, sections perimeter channels including cost and conveyance of all materials and labour charges etc. complete with all leads and lifts. | m2 | 22
Control Building
2.13.1.3 | Supply & fixing of Rolling shutter made of 80 x 1.25 mm machine rolled CRCA laths, interlocked together through their entire length and jointed together at the ends by end-locks, mounted on specially designed pipe shaft of 50mm Diameter nominal bore MS B class pipe with brackets, plates, guide channels, stoppers, bottom locking plates and arrangements for inside & outside locking with push-pull | Sq.m | 5
2.14 | Instrumentation
2.14.1 | V Notch Weir | Nr | 1
2.14.2 | Open Stand pipe piezometers | Nr | 12
2.14.3 | Vibrating wire piezometers | Nr | 12
2.14.4 | Reservoir Tail water level Staff | Nr | 2
2.14.5 | Radar level meter | Nr | 1
2.14.6 | USBR settelment gauge | Nr | 3
2.14.7 | Target sets | Nr | 28
2.14.8 | Inclino meter | Nr | 1
2.14.9 | Vertical devices | Nr | 6
2.14.10 | Horizontal devices | Nr | 3
2.14.11 | Bench mark Pillars | Nr | 2
2.14.12 | Modern weather station | Nr | 1
2.14.13 | River gauge and discharge station | Nr | 1
2.14.14 | Meteorological station | Nr | 1
Page Total Carried to Collection Page
COLLECTION PAGE
Collection, Page 1
Collection, Page 2
Collection, Page 3
Collection, Page 4
Collection, Page 5
Total carried to summary page

## Access Roads
IRRIGATION FOR CLIMATE RESILIENCE PROJECT (ICRP)
CONSTRUCTION WORKS FOR KABUYANDA EARTH DAM IN ISINGIRO DISTRICT
BILL NO. 3: ACCESS ROADS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
3.1 | ACCESS ROADS TO DAM SITES AND CONSTRUCTION AREAS
EARTH WORK
3.1.1 | Grade track for soft material to formation level including excavation not exceeding 200mm in depth measured from original ground level to formation level at the center of carriage way | m3 | 105916.04
3.1.2 | Provide and haul gravel material/murram spread, shape, watering and compact in layers not exceeding 150mm thickness to atleast 95% MoD AASHTO to the existing surface material (through a section of 150mm thickness and width of 6.5m) measured from the original ground level to the formation level | m3 | 124761.73
BRIDGES AND CULVERT CROSSINGS
EARTH WORK
3.1.3 | Excavation for foundation in materials other than top soil, rock or artificial hard material depth 0.0 – 0.25m | m³ | 44.305
3.1.3.1 | Ditto but - depth 0.25-0.5m. | m³ | 44.305
3.1.3.2 | Ditto but - depth 0.5-1m. | m³ | 70.662
3.1.3.3 | Ditto but - depth 1-5m. | m³ | 113.661
DESIGNED CONCRETE
3.1.4 | Provide and place well vibrated plain concrete grade C15 | m³ | 17.8278
DESIGNATED CONCRETE
3.1.5 | Provide and place well vibrated reinforced concrete grade C25 | m3 | 136.45
CONCRETE ANCILLARIES
3.1.6 | Mild BS 4483 and High tensile steel BS 4464 reinforcement bars with binding wire as described.
3.1.6.1 | 12 | t | 0.25484
FILLING
3.1.7 | Refilling with excavated soils (other than sand) complying with standard specification for filling foundation and sides of head walls etc., complete for finished item of work. | m³ | 126.7127
3.1.8 | 1000mm Dia Pipes | Nos | 18
Total carried to summary page

## Scheme Buildings and Facilities
IRRIGATION FOR CLIMATE RESILIENCE PROJECT (ICRP)
CONSTRUCTION WORKS FOR KABUYANDA EARTH DAM IN ISINGIRO DISTRICT
BILL NO. 4: SCHEME BUILDINGS AND FACILITIES
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
4.1 | Administrative Building and associated Facilities
Buildings
4.1.1 | Excavate for foundations, supply all materials and construct 1No. Type 1 office structure unit as shown on Drawings. Include plumbing and electrical installations fittings, all to the satisfaction of the Project Manager. | L.S | 1
4.1.2 | Provision for rainwater harvesting including the gutters, down pipe, clamps and 10,000 liters storage tank | L.S | 1
4.1.3 | Excavate for foundations, supply all materials and construct 1 No. Type 2 residential housing unit as shown on Drawings. Include plumbing and electrical installations fittings, all to the satisfaction of the Project Manager. | L.S | 1
4.1.4 | Provision for rainwater harvesting including the gutters, down pipe, clamps and 10,000 liters storage tank | L.S | 1
Gates and Fencing
Fencing
4.1.5 | Concrete post and wire fence including barbed wire, chainlink, mesh, intermediate, corner and bracing posts in accordance with the drawings. | m | 1350
Gates
4.1.6 | Supply and fix gates of two leaves 7m clear opening between and including 300mmx300mm reinforced concrete posts. Gates to be fabricated from galvanised tubular iron to form frames 2.3m high with spike 50mmx50mm weld mesh and painted with approved paint extensions 300mm high on top. Whole to be covered (Gate to be provided with approved catch and fastenings bolts for holding in open position and supplied with padlock and keys.) | nr | 1
Septic Tank and Soakway Construction
4.1.7 | Supply all materials and construct one septic tank according to drawing. Include for water proof cement rendering, benching, fittings and smoothening of channels etc as specified and directed on site | nr | 1
4.1.8 | Ditto but soakway according to drawing | nr | 1
4.1.9 | Allow for provision and installation of fire fighting equipment consisting of 2 no. CO2 cylinders and 1 no. water hose reel | Item | 1
4.2 | Facility Storage Building - (Steel Works)
Site Clearance and Excavations
4.2.1 | Site clearance of construction area | SM | 760
4.2.2 | Exacavate to reduce levels average 200mm deep to remove vegetable soil and cart away from site | CM | 152
4.2.3 | Excavate trench for strip foundations not exceeding 1.50 metres from reduced level (starting at stripped level) | CM | 105
4.2.4 | Excavate pit for 22 in No.base column footings (pad foundation)not exceeding 1.50 metres deep from reduced / ground level (slanting/ Vertical columns) | CM | 74
4.2.5 | Allow for keeping the whole of the excavation and foundation free from rain, spring or underground water and mud or silt by bailing, pumping or otherwise | Item | 1
Total carried to Collection Page
Anti-termite Treatment
4.2.6 | Approved anti termite treatement aplied to sides and bottoms of all excavations,top of hardcore etc | SM | 331
Backfilling and Disposal
4.2.7 | Return, fill with murram around foundations and well ram in layers (well compacted) not exceeding 230mm thick to receive hardcore under a concrete slab | CM | 73
4.2.8 | Remove surplus excavated materials from site to where irected as per the regulations of the council. | CM | 32
Concrete and Mansonry
4.2.9 | Concrete in strip foundation 230mm thick ,Insitu Grade C10 (mix 1:3:6) | CM | 16
4.2.10 | 200mm thick of blocks in 1:4 cement sand mortar for plinth wall including reinforcement with mansory anchors using galvanised mild steel ties BS 4360 (hoop iron )every two courses | SM | 16
Concrete slab
4.2.11 | Murram filling, well graded insitu material well compacted in layers not exceeding 200mm ready to receive hardcore under a concrete slab | CM | 11
4.2.12 | 200mm thick levelled compacted hardcore filling | SM | 540
4.2.13 | 50mm thick sand Blinding | SM | 540
4.2.14 | G 1000 gauge microslip membrane (DPM) with 200mm laps | SM | 540
4.2.15 | BRC A252 welded mesh reinforcement in top and bottom (Ground floor and slab bed) | SM | 540
4.2.16 | Grade 15 Vibrated Insitu Plain concrete
4.2.17 | 250mm thick concrete floor slab | SM | 540
4.2.18 | Concrete blinding in pad foundation 75mm thick | SM | 50
4.2.19 | Grade 25 Vibrated Insitu Reinforced concrete
4.2.20 | Concrete footing of columns | CM | 23
4.2.21 | Concreting to stub columns | CM | 3
4.2.22 | Sawn formwwork
4.2.23 | Sawn formwwork to edges of 250mm thick floor slab | LM | 102
4.2.24 | Sawn forwork for stub columns | SM | 33
4.2.25 | Mild BS 4483 and High tensile steel BS 4464 reinforcement bars with binding wire as described:
4.2.26 | 8mm Bars | Kgs | 75
4.2.27 | 12mm Ditto | Kgs | 149
4.2.28 | 16mm Ditto | Kgs | 1321
Superstructure
Structural Works
Steel Columns (14 in No.)
Framed structural steel work as described
4.2.29 | 203x133-25kg/m I-section columns bolted to the foundation using 16mm thick base plate (350x350mm) with 4mm fillet weld all around column and 4no soft 20mm foundation bolts as per details given in the drawing | LM | 110
Rafters
4.2.30 | 203x133-25kg/m I-section rafters cut to the required angles on top and bottom and jointed with 2nos of 12mm thick 350x130mm steel plates bolted with 8nos of M20 G8-8bolts on webs per given detail and all fillet welding shall be as mentioned | LM | 120
Total carried to Collection Page
Block work superstructure
4.2.31 | Solid concrete block walling load bearing (5.0 N/mm2) to BS 5628 Part 1,1978 in cement and sand mortar Designation (ii), laid in suitable bond, with 6mm diameter mild steel strips laid horizontally every alternate course.
4.2.32 | 230mm thick masonry using solid block wall,mild steel laid to form alternate courses of headers and stretchers,laid on and incl.mortar ratio 1:3 | SM | 314
Wall Finishes
4.2.33 | 20mm thick 1:3 cement sand plaster on internal walls (internal surfaces) | SM | 314
4.2.34 | 20mm thick 1:3 cement sand plaster on external walls (external surfaces) | SM | 314
4.2.35 | 230mm thick concrete louver vents | SM | 41
4.2.36 | Clad shetting
4.2.37 | Glabed end clading sheets 26 gauge around structure not exceeding 2.4 metres | SM | 300
4.2.38 | Trim flashing and corner flashings | LM | 54
Fixture and Fittings
4.2.39 | Steel casement window complete with burglar grills, size 1500 x 1500mm as detailed in drawing | No | 1
4.2.40 | Framed steel doors with vents, complete with angle frame, hinges and locks, size 3000mm x 3600mm (plate thickness 3mm)for the mian entrance | No | 1
4.2.41 | Framed steel doors with vents, complete with angle frame, hinges and locks, size 1200mm x 2300mm (plate thickness 2mm) | No | 2
4.2.42 | 4mm thick clear sheet glass glazing to casement windows in panes over 0.08 but not exceeding 0.5m2 | SM | 7
4.2.43 | Burglar proof for the store with 16mm steel bars | SM | 45
4.2.44 | Paint for the walls and metal works | litres | 120
Roofing
Roof Covering
4.2.45 | 26 Gauge,Blue painted Super Eco profile roofing sheets,fixed to Z-Purlins frame with and including approved J-hook bolts,nuts and washers,fixed in accordance with the engineer's instructions and drawings. | SM | 590
4.2.46 | 2mm mild steel Gutters for gabled roof with eave gutters 610mm Girth thick fixed using 12mm diameter holes for 10mm diameter XOX bolts | LM | 108
4.2.47 | Fascia boards 4m length (190mmx30mmx1mm) | LM | 138
4.2.48 | Ridge caps | LM | 40
4.2.49 | Roof Screws M25 | No. | 6000
4.2.50 | Provision for rainwater harvesting including the gutters, down pipe, clamps and two 20,000 liters storage tanks | LS | 1
4.2.51 | Purlins
4.2.52 | 130mm x 50mm x 20mm x2mm (Ref.ZP 30) steel Zed-purlins bolted to top chord through 100x100x4mm L-cleats (measured separately) including all necessary bolts and nuts to Structural Engineer's approval for roofing and clad sheeting | LM | 1150
4.2.53 | 100x100mmx4mm L-Cleat | No. | 84
Metal Plates
4.2.54 | 2mm thick mild steel plate for eaves gutters with 12mm diameter holes for 10mm diameter XOX bolts | No. | 6
4.2.55 | 4mm thick plate cleat with 14 mm diameter holes for 12mm diameter holes | No. | 56
4.2.56 | 12mm thick plate (350x130mm) as per the section of the drawing connecting rafter to column | No. | 130
Total carried to Collection Page
4.2.57 | 12mm thick plate (350x130mm) as per the section of the drawing connecting rafter to rafter | No. | 60
4.2.58 | 16mm thick base plate (350x250mm) on columns | No. | 23
Bolts
4.2.59 | Rafter to column bolts 16mm diameter bolts to join a 12mm thick plate (350x130mm) | No. | 30
4.2.60 | Rafter to rafter bolts 16mm diameter to join a 12mmm thick plate (350x130mm) | No. | 60
4.2.61 | 20mm foundation bolts ,600mm long jointed to a 16mm base plate (350x250mm) | No. | 78
Rods
4.2.62 | 6mm diameter S-Profiled rod x 140 long | No. | 84
4.2.63 | 12mm diameter anti-sag rods (2 per bay) for roofing and clading sheet | LM | 980
4.2.64 | Allow a provisional sum for electrical installation | sum | 1 | 50000000
4.2.65 | Allow a provisional sum for exetension of the power line | sum | 1 | 25000000
4.2.66 | Allow a provisional sum for water supply includung the internal plumbing system | sum | 1 | 500000000
4.2.67 | Carry out bore hole siting, Mobilise drilling equipment, personel and materials to and from site, Borehole Drilling and installation of 5'' casings to the the bottom of 60m also perform test pumping 48hrs + 2hr step tests Supply and installation 5'' pedestal plus a hand pump on a concrete platform | Sum | 1
4.2.68 | Contractor's handling charge on all provisional sums under above | %
4.3 | Scheme Equipment
Scheme facilities
4.3.1 | Supply of motor bikes | Nr | 2
4.3.2 | Supply of bicycles | Nr | 5
4.3.3 | Provide personal office computers for scheme use as per specification | Nr | 4
4.3.4 | Supply office printer for the use of the scheme as per specifications | Nr | 2
4.3.5 | Supply of silt stirrers (3 No) | Nr | 3
4.3.6 | Supply of Workshop equipment and tools in accordance with section specification | P.Sum | 1
4.3.7 | Provisional sum for technical training | P.Sum | 1 | 25000000
4.3.8 | Provisional sum for systems support and technology transfer | Nr | 3 | 60000000
4.3.9 | Contractor's handling charge on provisional sums above | %
Total carried to Collection Page
COLLECTION PAGE
Collection, Page 1
Collection, Page 2
Collection, Page 3
Collection, Page 4
Collection, Page 5
Total carried to summary page

## Dayworks
IRRIGATION FOR CLIMATE RESILIENCE PROJECT (ICRP)
CONSTRUCTION WORKS FOR KABUYANDA EARTH DAM IN ISINGIRO DISTRICT
BILL NO. 5: DAY WORKS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
5.1 | Labour
5.1.1 | Working ganger leader | hr | 50
5.1.2 | Semi-skilled labour | hr | 80
5.1.3 | Unskilled labour | hr | 120
5.1.4 | Driver for light vehicle | hr | 10
5.1.5 | Driver for heavy vehicle | hr | 10
5.1.6 | Operator for heavy equipment | hr | 10
5.2 | Materials
5.2.1 | Ordinary Portland Cement in 50 kg bags | t | 5
5.2.2 | Coarse aggregate for concrete. | m³ | 20
5.2.3 | Fine aggregate for concrete. | m³ | 30
5.2.4 | Water for concrete | L | 100
5.2.5 | Plaster sand | m³ | 10
5.2.6 | Bricks for building. | nr | 500
5.2.7 | Wire mesh size A193 | m2 | 200
5.2.8 | HDPE Pipes PN10 63mm OD | m | 1
5.2.9 | HDPE Pipes PN16 63mm OD | m | 1
5.2.10 | D I plipe PN25 300mm | m | 1
5.2.11 | Ductile iron PN 25 OD 300mm | m | 1
5.2.12 | PVC pipe PN10 300mm OD | 6m | 1
5.2.13 | PVC pipe PN16 300mm OD | 6m | 1
5.2.14 | Stainless -steel pipe PN 25 OD 300mm | 6m | 1
5.2.15 | 25mm Strainer on 300 DN stainless steel flanged adaptor | No. | 1
5.2.16 | 25mm Strainer on 300 DN stainless steel flanged adaptor | No. | 1
5.2.17 | 300mm DN double flanged stainless steel pipe | No. | 1
5.2.18 | 300mm DN double flanged stainless steel gate valve complete with key drive | No. | 1
5.2.19 | 300mm DN double flanged stainless steel bend |  | 1
5.2.20 | 300mm DN flanged stainless steel pipe flanged on one end and spigot on other end | No. | 1
5.2.21 | 300mm DN stainless steel pipe flange on one end and socket on other end | No. | 1
5.2.22 | 300mm DN flanged equal tee | No. | 1
5.2.23 | High yield steel reinforcement bars | t | 1
5.2.24 | Mild Steel reinforcement bars | t | 1
5.2.25 | 50 x 100mm soft wood | m | 4
5.2.26 | 50 x 100 mm hardwood | m | 4
5.2.27 | 450 x 230 x 200 mm Concrete Block | No. | 1
5.2.28 | 50 x 50 x 6 mm steel angle | m | 1
5.2.29 | Concrete blocks for building, 225 mm for building | No. | 1
5.2.30 | Concrete blocks for building, 150 mm for building | No. | 1
5.2.31 | Timber, sawn | cm | 1
5.2.32 | Timber, wrought | cm | 1
5.2.33 | Steel reinforcement fabric S reference: A193 | Sm | 1
5.2.34 | Steel reinforcement fabric S reference: A142 | Sm | 1
Total carried to Collection Page
5.3 | Day Work - Plant
5.3.1 | Road vehicles:Pick-up,1 1/2t. | hr | 26
Road vehicles: Lorries:
5.3.2 | Flat-5t capacity | hr | 120
5.3.3 | Flat-10t capacity | hr | 120
Tipping :
5.3.4 | 5t capacity | hr | 120
5.3.5 | 10t capacity | hr | 120
5.3.6 | Over 10t but less than 18t | hr | 120
Water tankers with pump and hoses:
5.3.7 | 2,5001 capacity. | hr | 120
5.3.8 | 5,0001 capacity. | hr | 120
Excavation, face shovel or dragline:
5.3.9 | 0.25 m3 bucket. | hr | 120
5.3.10 | 0.5m3 bucket. | hr | 120
5.3.11 | 1.0m3 bucket. | hr | 120
Tractors:
rubber tyred with trailer, tracked including bull and angle dozer with ripper:
5.3.12 | (i) 75 kW. | hr | 120
5.3.13 | (i) 150 kW. | hr | 120
5.3.14 | (ii) 200 kW | hr | 120
5.3.15 | (iii) 250 kW. | hr | 120
Wheel loaders:
5.3.16 | (i) 1m3 bucket. | hr | 120
5.3.17 | (ii) 1.5m3 bucket. | hr | 120
Dumpers:
5.3.18 | 1m3 capacity | hr | 120
5.3.19 | 2m3 capacity | hr | 120
5.3.20 | 3m3 capacity | hr | 120
Rollers:
5.3.21 | manual, 250 kg | hr | 120
5.3.22 | vibratory, self, propelled, 1500 kg. | hr | 120
5.3.23 | vibratory, trailer type, 2500 kg. | hr | 120
5.3.24 | pneumatic tyred, self propelled, 5t. | hr | 120
5.3.25 | smooth wheel, self propelled, 8t. | hr | 120
5.3.26 | sheep's foot, trailer type, 5t. | hr | 120
Total carried to Collection Page
Cranes: including slings chains, dogs & nips:
mobile, rubber tyred:
5.3.27 | (i) 5t capacity. | hr | 120
5.3.28 | (ii) 10t capacity. | hr | 120
5.3.29 | tracked, 20t. | hr | 120
Concrete mixers with weigh batchers and loading hoppers:
5.3.30 | 300l capacity. | hr | 120
5.3.31 | 400l capacity. | hr | 120
Concrete vibrator, pneumatic with hoses:
5.3.32 | poker type, 50 mm | hr | 120
5.3.33 | shutter type | hr | 120
5.4 | Bar bending and shearing machines:
bending:-
5.3.34 | (i) hand operated. | hr | 120
5.3.35 | (ii) power operated. | hr | 120
shearing:-
5.3.36 | (i) hand operated | hr | 120
5.3.37 | (ii) power operated. | hr | 120
Air compressor, mobile with 5m of hose and steels with:
5.3.38 | 1 breaker. | hr | 120
5.3.39 | 2 breakers. | hr | 120
5.3.40 | 4 breakers. | hr | 120
Mobile electricity generating sets, 240 V, 1 ph, 50 Hz:
5.3.41 | 5 kVA | hr | 120
5.3.42 | 10 kVA | hr | 120
Total carried to Collection Page
COLLECTION PAGE
Collection, Page 1
Collection, Page 2
Collection, Page 3
Total carried to summary page